Biomedical Equipment Defect and Breakdown

Standard Operating Procedure  •  Saveetha Medical College and Hospital (SMCH)

| SOP Identifier | SOP-BIO-001 |
| --- | --- |
| Department | Biomedical Engineering |
| Version & Status | Version 1.9 (Approved: 2026-01-11) |
| Applicable Roles | nurse, biomedical_engineer |
| Required Documents | BME Maintenance Form, Work Order |

## 1. Purpose

Rapid response within 15 minutes for critical life support equipment.

## 2. Scope

Applies to all relevant personnel and operational units in Biomedical Engineering at Saveetha Medical College and Hospital (SMCH).

## 3. Required Documents

• BME Maintenance Form

• Work Order

## 4. Procedure Steps

Step 1: Execute phase 1 of Biomedical Equipment Defect and Breakdown in full compliance with Biomedical Engineering hospital policy, verifying patient UHID and audit stamps.

Step 2: Execute phase 2 of Biomedical Equipment Defect and Breakdown in full compliance with Biomedical Engineering hospital policy, verifying patient UHID and audit stamps.

Step 3: Execute phase 3 of Biomedical Equipment Defect and Breakdown in full compliance with Biomedical Engineering hospital policy, verifying patient UHID and audit stamps.

Step 4: Execute phase 4 of Biomedical Equipment Defect and Breakdown in full compliance with Biomedical Engineering hospital policy, verifying patient UHID and audit stamps.

Step 5: Execute phase 5 of Biomedical Equipment Defect and Breakdown in full compliance with Biomedical Engineering hospital policy, verifying patient UHID and audit stamps.

## 5. Common Blockers

- [BLOCKER] System connectivity or missing documentation in Biomedical Engineering.

- [BLOCKER] Bed, reagent, medication, or personnel resource constraints during peak hours.

## 6. Escalation Conditions

- [ESCALATION] Delays exceeding 2 hours must be escalated to the Operations Manager.

- [ESCALATION] Clinical complications or safety hazards must be escalated immediately to Clinical Review.